Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in spare units for chlorine and aluminum dosing pump use in various WTP.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | CHEMICAL DOSING PUMP, single diaphragm type with adjustable stroke length, 7 LPH rated capacity @ 7 bars, hose/tubing suction & discharge connection solenoid driven, 220 VAC, single phase, 60 Hz CHEMICAL DOSING PUMP, single diaphragm type with adjustable stroke-length, 25 LPH rated capacity @ 7 bars, ½” dia. PVC Pipe suction & discharge connection, threaded or socket, motor driven 220 VAC, single phase, 60 Hz CHEMICAL DOSING PUMP, single diaphragm type with adjustable stroke-length, 100-140 LPH rated capacity @ 7 bars, ½” dia. PVC suction & discharge conn. Threaded or socket, motor driven, 220 VAC, single phase, 60 Hz. | 2 2 2 | Units Units units |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________